| Activity/Work Task: Confined Spaces | Overall Risk Assessment Code (RAC) (Use highest code) |  |  |  |  |  |  |  | L |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Location: | Risk Assessment Code (RAC) Matrix |  |  |  |  |  |  |  |  |  |
| Contract Number: | Severity | Probability |  |  |  |  |  |  |  |  |
| Date Prepared: |  | Frequent (F) | Likely (L) | Occasional (O) |  |  |  | Seldom (S) |  | Unlikely (U) |
| Prepared by (Name/Title): | Catastrophic (C) | E | E |  | H |  | H |  |  | M |
|  | Critical (Cr) | E | H |  | H |  | M |  |  | L |
| Reviewed by (Name/Title): | Marginal (M) | H | M |  | M |  | L |  |  | L |
|  | Negligible (N) | M | L |  | L |  | L |  |  | L |
| Employer/GBU: | Step 1: Review each “Hazard” with identified safety “Controls” and determine RAC (See above) Note: The RAC is determined after implementing the control for listed hazard. |  |  |  |  |  |  |  |  |  |
| Notes: (Field Notes, Review Comments, etc.) References : | P “Probability” is the likelihood to cause an incident, near miss, or accident and identified as: Frequent (F), Likely (L), Occasional (O), Seldom (S) or Unlikely (U). |  |  |  |  | RAC Chart |  |  |  |  |
|  | S “Severity” is the outcome/degree if an incident, near miss, or accident did occur and identified as: Catastrophic (C), Critical (Cr), Marginal (M), or Negligible (N) |  |  |  |  | E = Extremely High Risk |  |  |  |  |
|  |  |  |  |  |  | H = High Risk |  |  |  |  |
|  | Step 2: Identify the RAC (Probability/Severity) as E, H, M, or L for each “Hazard” on AHA. Annotate the overall highest RAC at the top of AHA. |  |  |  |  | M = Moderate Risk |  |  |  |  |
|  |  |  |  |  |  | L = Low Risk |  |  |  |  |

| Job Steps | Hazards | Controls | P | S | RAC |
| --- | --- | --- | --- | --- | --- |
| 1 Confined Spaces | 1.1 Open hole fall hazard | 1.1.1 Verify hole is covered when not being accessed 1.1.2 Verify edge is barricaded 1.1.3 Verify proper access is provided 1.1.4 Wear appropriate PPE | S | M | L |
|  | 1.2 Chemical exposure/ toxic gas exposure | 1.2.1 Verify continuous air monitoring for toxic and explosive gases takes place 1.2.2 Wear appropriate PPE 1.2.3 Verify Lock out Tag out system is in use 1.2.4 Follow confined space permit system 1.2.5 Maintain proper ventilation | S | M | L |
|  | 1.3 Lack of oxygen | 1.3.1 Make sure continuous air monitoring takes place | S | M | L |
|  | 1.4 Rescue operations | 1.4.1 Self rescue is preferred 1.4.2 If self rescue isn’t possible rescue attempts shall be made without entry into confined space( tripod hoist system) 1.4.3 Do not hurry your rescue attempt without knowing causes for emergency | S | M | L |
| Equipment to be Used | Training Requirements/Competent or Qualified Personnel | Inspection Requirements |  |  |  |
| Hard Hat, Safety Glasses, Class 2 Reflective Vest & Safety footwear, mask appropriate | - Task AHA Development and Training Requirement - Safety Orientation - Confined space entry permit - Confined space training | Air monitoring All Employees are to report unsafe conditions as they are observed to their immediate supervisor and a project safety committee member. Effort should be made to communicate findings to contractor. |  |  |  |