| Activity/Work Task: Discharges Of Water | Overall Risk Assessment Code (RAC) (Use highest code) |  |  |  |  |  |  |  | L |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Location: | Risk Assessment Code (RAC) Matrix |  |  |  |  |  |  |  |  |  |
| Contract Number: | Severity | Probability |  |  |  |  |  |  |  |  |
| Date Prepared: |  | Frequent (F) | Likely (L) | Occasional (O) |  |  |  | Seldom (S) |  | Unlikely (U) |
| Prepared by (Name/Title): | Catastrophic (C) | E | E |  | H |  | H |  |  | M |
|  | Critical (Cr) | E | H |  | H |  | M |  |  | L |
| Reviewed by (Name/Title): | Marginal (M) | H | M |  | M |  | L |  |  | L |
|  | Negligible (N) | M | L |  | L |  | L |  |  | L |
| Employer/GBU: | Step 1: Review each “Hazard” with identified safety “Controls” and determine RAC (See above) Note: The RAC is determined after implementing the control for listed hazard. |  |  |  |  |  |  |  |  |  |
| Notes: (Field Notes, Review Comments, etc.) References : | P “Probability” is the likelihood to cause an incident, near miss, or accident and identified as: Frequent (F), Likely (L), Occasional (O), Seldom (S) or Unlikely (U). |  |  |  |  | RAC Chart |  |  |  |  |
|  | S “Severity” is the outcome/degree if an incident, near miss, or accident did occur and identified as: Catastrophic (C), Critical (Cr), Marginal (M), or Negligible (N) |  |  |  |  | E = Extremely High Risk |  |  |  |  |
|  |  |  |  |  |  | H = High Risk |  |  |  |  |
|  | Step 2: Identify the RAC (Probability/Severity) as E, H, M, or L for each “Hazard” on AHA. Annotate the overall highest RAC at the top of AHA. |  |  |  |  | M = Moderate Risk |  |  |  |  |
|  |  |  |  |  |  | L = Low Risk |  |  |  |  |

| Job Steps | Hazards | Controls | P | S | RAC |
| --- | --- | --- | --- | --- | --- |
| - Discharging Of Water | - Discharges to Foul Sewers or Controlled waters including ground water | - All discharges to water shall be authorized by the Environmental Department - Consented discharges shall be monitored as required by the consent conditions - If consent conditions are not met immediate remedial action shall be taken - Discharge/s shall not be contaminated with silt, oils, sewage, chemicals or other potential contaminants | S | M | L |
|  | - Spillage of Foul or Surface Water Drains | - Each depot should have a drainage plan detailing the location of foul and surface water drains - Oils, lubricants. chemicals and fuels should not be stored in a location close to a drain/s - Oils and fuels shall not be refueled in an area close to a drain without appropriate mitigation measures in place e.g. refueling bund - Action shall be taken to ensure that any spillage does not enter a drain - Staff shall be briefed on what to do in the event of an environmental emergency/spill - Spill kits should be available in areas where oils, lubricants, chemical and fuels are stored, transported or being used. | S | M | L |
|  | - Spillage of Controlled Water (Surface, Ground, Marine, etc…) | - Refueling should not take place close to a water course - Oils, lubricants. chemicals and fuels should not be stored close to a water course/s - Staff shall be briefed on what to do in the event of an environmental emergency/spill - Spill kits should be available in areas where oils, lubricants, chemical and fuels are stored, transported or being used. - All spillages to a controlled water shall be reported to control | S | M | L |
|  | - Silt Arising from Worksite | - Water containing silt shall not be allowed to enter a controlled water - During the work planning phase precautions should be taken and the appropriate way of dealing with silt contaminated water should be decided (e.g. settlement tank) | S | M | L |
|  | - Mobile Toilets | - Mobile toilets should be checked regularly for maintenance issues and leakages - Any leakages or spillages shall be prevented from entering any drains or controlled waters - A licensed contractor should be used to empty any mobile toilets | S | M | L |
|  | - Vehicle Washing | - No vehicles shall be washed on depot sites - All vehicles shall be washed off site at licensed washing facilities | S | M | L |
|  | - Working In Or Near Water | - Consent will also be needed for construction of a culvert or flow control structure - Advise and application forms can be sought from your local Development and Flood Risk Team within the Environment Agency | S | M | L |
| Equipment to be Used | Training Requirements/Competent or Qualified Personnel | Inspection Requirements |  |  |  |
| - Safety helmet - Safety Shoes - High Visibility vest - Hand gloves - Respiratory protection (As Needed) - Safety Glasses | - Basic Safety Induction - Training on safe use of PPE - Emergency Procedures | - Daily - Weekly - When Required |  |  |  |