GENERATOR AND BULK FUEL ACCEPTANCE CHECK LIST

Location:

| No Inspection Item Y N N/A Comments |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 Site Fire Plan approved by HSE Department. |  |  |  |  |
| 2 Inspection and Fire Protection Equipment Recorded. |  |  |  |  |
| 3 Adequate Fire Extinguishers, Water Barrels, Hoses. |  |  |  |  |
| 4 Emergency Reporting Procedures Posted. |  |  |  |  |
| 5 Telephone Availability. |  |  |  |  |
| 6 Fire Training Program. |  |  |  |  |
| 7 Fire Drills Conducted. |  |  |  |  |
| 8 Site Access, Good Roads, Two Entrances. |  |  |  |  |
| 9 No Smoking Signs Posted. |  |  |  |  |
| 10 Designated Smoking Signs Posted. |  |  |  |  |
| 11 25’ Clearance Around Fire Hydrants. |  |  |  |  |
| 12 Storage Yard Fenced With 2 - 15’ Gates. |  |  |  |  |
| 13 15’ Driveways in All Parts of Store Yard for Fire Trucks. |  |  |  |  |
| 14 Aisle Ways between Materials & Boundary Fence 10’ |  |  |  |  |
| 15 All Flammable Liquid Storage, Isolated & Downwind. |  |  |  |  |
| 16 50’ Clearance from Buildings of Stored Materials. |  |  |  |  |
| 17 No Motor Vehicles Repaired/Stored In Materials Yard. |  |  |  |  |
| 18 No Smoking and/or Open Flames Inside Materials Yard. |  |  |  |  |
| 19 Materials arranged with Combustibles/Non-Combustible. |  |  |  |  |
| 20 Daily Removal of Trash from Site. |  |  |  |  |
| 21 25’ Clearance of Trash from Buildings, Materials, Etc. |  |  |  |  |
| 22 Site/Yard Fire Inspection Recorded. |  |  |  |  |
| 23 Trained Fire Watchman Non-Work Hours. |  |  |  |  |
| 23 Area Bunded and Spill Kits Available. |  |  |  |  |

Competent	Date	Verified by

Person Name &Signature