| Activity/Work Task: Inspection During Rebar Fixing | Overall Risk Assessment Code (RAC) (Use highest code) |  |  |  |  |  |  |  | M |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Location: | Risk Assessment Code (RAC) Matrix |  |  |  |  |  |  |  |  |  |
| Contract Number: | Severity | Probability |  |  |  |  |  |  |  |  |
| Date Prepared |  | Frequent (F) | Likely (L) | Occasional (O) |  |  |  | Seldom (S) |  | Unlikely (U) |
| Prepared by (Name/Title): | Catastrophic (C) | E | E |  | H |  | H |  |  | M |
|  | Critical (Cr) | E | H |  | H |  | M |  |  | L |
| Reviewed by (Name/Title): | Marginal (M) | H | M |  | M |  | L |  |  | L |
|  | Negligible (N) | M | L |  | L |  | L |  |  | L |
| Employer/GBU: | Step 1: Review each “Hazard” with identified safety “Controls” and determine RAC (See above). The RAC is developed after correctly identifying all the hazards and fully implementing all controls. |  |  |  |  |  |  |  |  |  |
| Notes: (Field Notes, Review Comments, etc.) References : | P “Probability” is the likelihood to cause an incident, near miss, or accident and identified as: Frequent (F), Likely (L), Occasional (O), Seldom (S) or Unlikely (U). |  |  |  |  | RAC Chart |  |  |  |  |
|  | S “Severity” is the outcome/degree if an incident, near miss, or accident did occur and identified as: Catastrophic (C), Critical (Cr), Marginal (M), or Negligible (N) |  |  |  |  | E = Extremely High Risk |  |  |  |  |
|  |  |  |  |  |  | H = High Risk |  |  |  |  |
|  | Step 2: Identify the RAC (Probability/Severity) as E, H, M, or L for each “Hazard” on AHA. Annotate the overall highest RAC at the top of AHA. |  |  |  |  | M = Moderate Risk |  |  |  |  |
|  |  |  |  |  |  | L = Low Risk |  |  |  |  |

| Job Steps | Hazards | Controls | P | S | RAC |
| --- | --- | --- | --- | --- | --- |
| - Inspection during rebar fixing. | 1.1 Falls on level. | 1.1.1 Verify designated walkway is clear. Avoid protruding parts of the equipment. Avoid stepping over obstacles such as tools, materials and cables. 1.1.2 Correct safety footwear should be worn. 1.1.3 No oil, grease, and other slippery substance on floors and shoes. Avoid slippery walkway surface. 1.1.4 Verify adequate illumination/lighting provided. 1.1.5 Follow mandatory signs. | S | M | L |
|  | 1.2 Exposure to sharp and protruding materials. | 1.2.1 Verify that sharp objects are covered/insulated. 1.2.2 Verify that contractor followed the safe practice of bending tie wire to avoid exposed sharp/pointed end. 1.2.3 Wear approved personal protective equipment. (Safety glass and gloves) | S | M | L |
|  | 1.3 Improperly supported rebar cage/structure. | 1.3.1 Verify that contractor complies with the design and standards for rebar cage/structure support. 1.3.2 Verify that safety signs and barricades are provided 1.3.3 Follow mandatory safety signs. | S | Cr | M |
|  | 1.4 Limited space for access/egress. | 1.4.1 Verify that contractor is providing proper space for access and egress purposes. 1.4.2 Refer to AHA 7 Confined Space Entry 1.4.3 Practice working on buddy system. 1.4.4 Do not enter to limited space when conducting rebar fixing inspection. 1.4.5 Verify contractor provided suitable walk boards for walking on rebars | U | Cr | L |
|  | 1.5 Exposure to radiant heat inside rebar cages/structure. | 1.5.1 Refer to AHA 46 Inspection During Hot Weather | S | M | L |
|  | 1.6 Falls from height | 1.6.1 Verify edge protection is in place before proceeding with the inspection. - Follow mandatory warning signage and out of bounds areas. 1.6.3 Do not approach unprotected leading edge or openings. 1.6.4 Verify sufficient lighting provided in the area. 1.6.5 Use only designated routes/walkways. 1.6.6 Do not step on/over covered voids where possible. | S | Cr | M |
| Equipment to be Used | Training Requirements/Competent or Qualified Personnel | Inspection Requirements |  |  |  |  |
| Personal Protective Equipment. - Safety Glass - Hand gloves - Full Body Harness | SH&E Site Induction. | All PPE should be inspected prior to use. All Employees are to report unsafe conditions as they are observed to their immediate supervisor and a project safety committee member Effort should be made to communicate findings to contractor. |  |  |  |  |