| Activity/Work Task: Inspection In Carpentry Workshop Area | Overall Risk Assessment Code (RAC) (Use highest code) |  |  |  |  |  |  |  | M |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Location: | Risk Assessment Code (RAC) Matrix |  |  |  |  |  |  |  |  |  |
| Contract Number: | Severity | Probability |  |  |  |  |  |  |  |  |
| Date Prepared: |  | Frequent (F) | Likely (L) | Occasional (O) |  |  |  | Seldom (S) |  | Unlikely (U) |
| Prepared by (Name/Title): | Catastrophic (C) | E | E |  | H |  | H |  |  | M |
|  | Critical (Cr) | E | H |  | H |  | M |  |  | L |
| Reviewed by (Name/Title): | Marginal (M) | H | M |  | M |  | L |  |  | L |
|  | Negligible (N) | M | L |  | L |  | L |  |  | L |
| Employer/GBU: | Step 1: Review each “Hazard” with identified safety “Controls” and determine RAC (See above). The RAC is developed after correctly identifying all the hazards and fully implementing all controls. |  |  |  |  |  |  |  |  |  |
| Notes: (Field Notes, Review Comments, etc.) References : | P “Probability” is the likelihood to cause an incident, near miss, or accident and identified as: Frequent (F), Likely (L), Occasional (O), Seldom (S) or Unlikely (U). |  |  |  |  | RAC Chart |  |  |  |  |
|  | S “Severity” is the outcome/degree if an incident, near miss, or accident did occur and identified as: Catastrophic (C), Critical (Cr), Marginal (M), or Negligible (N) |  |  |  |  | E = Extremely High Risk |  |  |  |  |
|  |  |  |  |  |  | H = High Risk |  |  |  |  |
|  | Step 2: Identify the RAC (Probability/Severity) as E, H, M, or L for each “Hazard” on AHA. Annotate the overall highest RAC at the top of AHA. |  |  |  |  | M = Moderate Risk |  |  |  |  |
|  |  |  |  |  |  | L = Low Risk |  |  |  |  |

| Job Steps | Hazards | Controls | P | S | RAC |
| --- | --- | --- | --- | --- | --- |
| 1. Inspection in Carpentry Workshop Area. | 1.1 Falls on level. | 1.1.1 Use only designated walkway. Avoid protruding parts of the equipment. Avoid stepping over obstacles such as tools, materials, electrical cables and hoses. 1.1.2 Approved safety footwear should be worn. 1.1.3 No oil, grease, and other slippery substance on floors and shoes. Avoid slippery walkway surface. 1.1.4 Maintain adequate illumination/lighting. 1.1.5 Keep hands out of pockets and free of objects. 1.1.6 Stay out of cordoned off areas. 1.1.7 Follow mandatory signs. | S | M | L |
|  | 1.2 Exposure to contact injuries (e.g. entanglement, abrasions, cuts, crashed). 1 | 1.2.1 Attend site orientation / pre task briefing prior to start activity. 1.2.2 Do not wear loose clothing. 1.2.3 Verify guard or cover on the moving parts is in place. 1.2.4 Verify lock-out / tag-out procedure is implemented for any equipment to be inspected. 1.2.5 Maintain safe distance from the machine. Do not place/put any body part near any moving part of the equipment. 1.2.6 Do not operate the equipment unless trained and authorized. 1.2.7 Verify adequate illumination/lighting is provided. 1.2.8 Follow mandatory signs. | S | Cr | M |
|  | 1.3 Exposure to hot surface. | 1.3.1 Verify contractor has identified and guarded the heated parts of the equipment. 1.3.2 Maintain safe distance from the heated parts of the equipment. 1.3.3 Wear approved gloves if required. 1.3.4 Follow mandatory signs. | S | M | L |
|  | 1.4 Exposure to high noise level. | 1.4.1 Limit/avoid exposure to vibration | S | M | L |
|  | 1.5 Exposure to wood dusts. | 1.5.1 Maintain adequate ventilation. 1.5.2 Wear approved respiratory protection suitable for the job. 1.5.3 Follow mandatory signs. | S | M | L |
|  | 1.6 Exposure to vibrations. | 1.6.1 Duration to exposure should be limited. | S | M | L |
|  | 1.7 Falling materials. | 1.7.1 Wear appropriate head protection (hard hat). 1.7.2 Verify no unsecured materials are placed overhead. 1.7.3 Keep away from area where overhead activity is on going. 1.7.4 Follow mandatory signs. | S | M | L |
|  | 1.8 Exposure to electrical hazards. | 1.8.1 Watch out for exposed and damaged cables. 1.8.2 Do not touch any electrical tools or equipment if not authorized. 1.8.3 Prevent exposure to wet areas and keep body dry while doing inspections 1.8.4 All electrical equipment to be considered as energized and treated with caution. 1.8.5 Follow mandatory signs. | S | Cr | M |
|  | 1.9 Exposure to eye injuries due to ejected debris from grinding, drilling, cutting, hammering, or harmful dusts. | 1.9.1 Verify contractor has briefed of the hazards exist in the workshop prior to inspection. 1.9.2 Use approved safety glasses (with side shield) is worn. 1.9.3 Verify equipment / tools that generate ejected debris are guarded where possible. 1.9.4 Safe distance should be maintained. 1.9.5 Follow mandatory signs. 1.9.6 Install barriers/welding shields around areas that generate ejected debris | S | M | L |
|  | 1.10 Accumulation of combustible materials. | 1.10.1 Verify contractor has delivered a briefing regarding emergency / fire procedure of the area. 1.10.2 Verify fire fighting equipment is in place. 1.10.3 Verify combustible materials are regularly disposed and kept away from sources of ignition. 1.10.4 Verify escape routes and emergency exits are established and in place. 1.10.5 Follow mandatory signs. | S | M | L |
|  | 1.11 Exposure to hazardous material | 1.11.1 Verify hazardous materials are properly stored and provided with spill containment / bund. 1.11.2 Do not touch / avoid contact with hazardous materials. 1.11.4 Verify nearest water source / eyewash and first aid kit are identified. 1.11.5 Follow mandatory signs. 1.11.6 Review MSDS on any hazardous material in area | S | M | L |
| Equipment to be Used | Training Requirements/Competent or Qualified Personnel | Inspection Requirements |  |  |  |
| Hard Hat, eye protection, face protection, gloves, safety shoes | SH&E Site Induction. | All PPE should be inspected prior to use. All Employees are to report unsafe conditions as they are observed to their immediate supervisor and a project safety committee member. Effort should be made to communicate findings to contractor |  |  |  |