| Activity/Work Task: Inspection Near Sandblasting Activity | Overall Risk Assessment Code (RAC) (Use highest code) |  |  |  |  |  |  |  | M |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Location: | Risk Assessment Code (RAC) Matrix |  |  |  |  |  |  |  |  |  |
| Contract Number: | Severity | Probability |  |  |  |  |  |  |  |  |
| Date Prepared: |  | Frequent (F) | Likely (L) | Occasional (O) |  |  |  | Seldom (S) |  | Unlikely (U) |
| Prepared by (Name/Title): | Catastrophic (C) | E | E |  | H |  | H |  |  | M |
|  | Critical (Cr) | E | H |  | H |  | M |  |  | L |
| Reviewed by (Name/Title): | Marginal (M) | H | M |  | M |  | L |  |  | L |
|  | Negligible (N) | M | L |  | L |  | L |  |  | L |
| Employer/GBU: | Step 1: Review each “Hazard” with identified safety “Controls” and determine RAC (See above). The RAC is developed after correctly identifying all the hazards and fully implementing all controls. |  |  |  |  |  |  |  |  |  |
| Notes: (Field Notes, Review Comments, etc.) References : | P “Probability” is the likelihood to cause an incident, near miss, or accident and identified as: Frequent (F), Likely (L), Occasional (O), Seldom (S) or Unlikely (U). |  |  |  |  | RAC Chart |  |  |  |  |
|  | S “Severity” is the outcome/degree if an incident, near miss, or accident did occur and identified as: Catastrophic (C), Critical (Cr), Marginal (M), or Negligible (N) |  |  |  |  | E = Extremely High Risk |  |  |  |  |
|  |  |  |  |  |  | H = High Risk |  |  |  |  |
|  | Step 2: Identify the RAC (Probability/Severity) as E, H, M, or L for each “Hazard” on AHA. Annotate the overall highest RAC at the top of AHA. |  |  |  |  | M = Moderate Risk |  |  |  |  |
|  |  |  |  |  |  | L = Low Risk |  |  |  |  |

| Job Steps | Hazards | Controls | P | S | RAC |
| --- | --- | --- | --- | --- | --- |
| 1. Inspection near sandblasting activity 1. Inspection near sandblasting activity. (Cont…) | 1.1 Falls on level | 1.1.1 Verify designated walkway is clear. Avoid protruding parts of the equipment. Avoid stepping over obstacles such as tools, materials and cables. 1.1.2 Correct safety footwear should be worn. 1.1.3 No oil, grease, and other slippery substance on floors and shoes. Avoid slippery walkway surface. 1.1.4 Verify adequate illumination/lighting provided. 1.1.5 Follow mandatory signs. | S | Cr | M |
|  | 1.2 High Noise level | 1.2.1 Refer to AHA 15 Exposure to Noise |  |  |  |
|  | - Dusty working environment. Presence of silica , lead or asbestos dust. | 1.3.1 Verify that contractor is providing sufficient enclosure for sandblasting works. - Use proper respiratory protection for harmful atmospheric containing substances. - Verify contractor is using approve abrasive material that contains minimum amount of silica. - Verify that contractor is following safe working procedures in minimizing or eliminating presence of lead or asbestos during sandblasting activity. - Reduce exposure to dusty working environment as possible. 1.3.6 Follow mandatory signs posted on site. - Use approved eye protection during the inspection. | S | Cr | M |
|  | 1.4 Flying abrasive blasting particles | 1.4.1 Maintain safe distance from the sandblasting activity. 1.4.2 Verify that contractor provides safety signs and barricades to keep the unprotected personnel out of blast area. 1.4.3 Use approved eye protection. | S | Cr | M |
|  | 1.5 Exposure to pressurized hose line. | 1.5.1 Verify pressurized hose lines are in good condition and regular maintenance is being conducted by contractor. - Verify that contractor provides whip checks on hose connections/fittings - Maintain safe distance from sandblasting operation. Wear appropriate PPE such as safety glass and respiratory mask intended for the activity. 1.5.4 Follow mandatory safety signs | S | Cr | M |
|  | 1.6 Ground Contamination | 1.6.1 Verify that contractor provides sufficient enclosure for sandblasting works. 1.6.2 Verify that contractor provides necessary spill containment to avoid ground contamination. 1.6.3 Verify that contractor established a clean- up procedure to remove any ground contamination. | S | M | L |
| Equipment to be Used | Training Requirements/Competent or Qualified Personnel | Inspection Requirements |  |  |  |
| Personal Protective Equipment. | SH&E Site Induction. | All PPE should be inspected prior to use. All Employees are to report unsafe conditions as they are observed to their immediate supervisor and a project safety committee member. Effort should be made to communicate findings to contractor. |  |  |  |