ELECTRICAL SAFETY

TOOLBOX TALK CONTENT

Document ID:  TBT-003

Document Approval History

| Document Revision No. | Effective Date | Created by: | Reviewed & Approved by: |
| --- | --- | --- | --- |
| Revision 0 | DD.MM.YYYY | HSE Advisor | HSE Manager |

Document Revision History

| Document Revision No. | Sections Revised | Description of Changes |
| --- | --- | --- |
| 00 | N/a | Published |

| TOPIC | ELECTRICAL SAFETY | DISCUSSED? |  |
| --- | --- | --- | --- |
|  | THINGS TO DISCUSS (a couple of topics to be selected and discussed when conducting the talk) | YES | NO |
| DEFINITION | - What is electrocution or electric shock. |  |  |
| HAZARDS | - Hazards to human health and consequences. |  |  |
| TASK | - Identify the type of task - Check the duration of the task - Ensure that the employee is aware about the task |  |  |
| ELECTRIC SHOCKS | - Defective power tool - Defective extension cords - Overloading a switch or over-riding a by-pass - Not grounding electrical equipment - Contact with live electric lines and high power lines with the power arching over and making contact.. |  |  |
| ADDITIONAL ARRANGEMENTS | - Ensure availability of Competent First Aider and First Aid box station - Ensure involved Personnel area aware of location of First Aid box - Ensure First aider's details are posted on site working area - Ensure availability of adequate Fire Extinguishing arrangements |  |  |
| ENVIRONMENT | - How the environment can impact electrical safety |  |  |
| AVOIDING ELECTRIC HAZARD | - Always inspect tools and equipment for frayed cords and defective plugs before using them - Never use a power tool that has had the ground plug removed; inspect the plug - Access to be free from obstruction -Never stand in water and operate a power tool |  |  |
| BARRICADE & SIGNAGE | - Barricade the work area - Display adequate & appropriate warning signs - Benefits of barricading the work area - Displaying warning signs |  |  |
| ILLUMINATION | - Adequate illumination requirement at working area - Use of clear safety glass in enclosed area |  |  |
| COMPETENCY | - Competent Confined space watcher to be available while work is going on inside confined space |  |  |
| PPE | - What is the appropriate PPE required for the task at hand? - Benefits of using Personal Protective Equipment |  |  |
| EMERGENCY ARRANGEMENTS | - Emergency rescue team & emergency equipment used for electric shock - What happens to the permit in case of an emergency? |  |  |
| OTHER | - Consider all power lines “live” and avoid contact with them |  |  |

| THINGS TO REMEMBER (consider these points when conducting your toolbox talk) |  |  |  |
| --- | --- | --- | --- |
| Description | Yes | Description | Yes |
| Toolbox Talk should be short and to the point and relevant to the work being conducted |  | Toolbox Talk should be entertaining and if possible, interactive. |  |
| Person Giving the Toolbox Talk (Name, Signature & Date) |  |  |  |