# TEMPORARY SITE CLOSURE INSPECTION

| ITEMS | YES | NO | COMMENTS |
| --- | --- | --- | --- |
| FUEL, FLAMMABLES, HAZARDOUS MATERIALS STORAGE |  |  |  |
| Fuel stores are as low as practicable |  |  |  |
| There are no leaks |  |  |  |
| The outlet is secured and locked |  |  |  |
| The bund is empty |  |  |  |
| Fire extinguishers are readily available |  |  |  |
| The area is secured from accidental collisions |  |  |  |
| Emergency and contact numbers are posted |  |  |  |
| There is adequate ventilation in confined spaces |  |  |  |
| There are no stores within the flood line |  |  |  |
| SAFETY |  |  |  |
| Site inspections have been carried out prior to site closure |  |  |  |
| All trenches and holes are properly signaled |  |  |  |
| Fences and barriers are all in place |  |  |  |
| Applicable notice boards are in place and secured |  |  |  |
| Reflectors, lighting, traffic signals, etc. are in order |  |  |  |
| Fire hazards are all identified and local authorities notified of any potential threat |  |  |  |
| Stockpiles are properly secured |  |  |  |
| Structures vulnerable to weather action are secured |  |  |  |
| EROSION AND SEDIMENTATION CONTROL |  |  |  |
| Wind and dust mitigation measures are in place |  |  |  |
| Excavated and filled slopes and stockpiles are at a stable angle and capable of accommodating normal stormwater |  |  |  |
| Re-vegetated areas have a watering schedule and the supply to such areas is secured |  |  |  |
| There are sufficient detention ponds or channels in place |  |  |  |
| WATER CONTAMINATION AND POLLUTION |  |  |  |
| Hazardous and fuel stores are properly secured |  |  |  |
| Cement and materials stores are secured |  |  |  |
| Toilets are empty and secured |  |  |  |
| Bounding is clean |  |  |  |
| Drip trays are empty and secured |  |  |  |

Date	ESHO or personnel on his behalf