Home Specs

Owner Name:  	Joe and Karen Smith

Address:  		123 Forest Lane, Somewhere, SC

Home Style:   	One story ranch on slab with attached garage

Rooms (sizes are approx):        	Kitchen/Dining Room                 	18x20

Living Room                                    	18x20

Master Bdrm                                 	13x18

Master Bath                                   	12x9

Master Closet                                	9x8

Bedrm #2                                        	9x14

Bedrm #3                                        	12x11

Bath #2                                             	5x9

Laundry                                            	5x10

Mechanical/Storage                   	5x10

Mud/Garage Entry                      	9x12

Hallway                                            	5x15

Other (sizes are approx):          	Garage                                             	35x40

Front Porch                                    	6x55

Side Patio                        	             46x10

Foundation:   		Concrete slab

Framing:          		Wood framing with steel trusses

Roofing:           	Metal

Exterior:           	Front Facing – Metal with wainscoting of steel or stone appearance

Side Facing – Metal siding

Rear Facing – Metal siding

Walls:                	Interior  house – Drywall

Interior garage – unfinished with exception of shared house wall

Ceilings & Trim: 	Drywall with vaulted over living room and kitchen/dining room

Custom decorative wood trim

Doors:    		Front Entry                                     	Std                     	Decorative entry door

Dining Room                                  	French              		White 6ft

Kitchen                                             	Std                     	Steel w/grid window

Mud/Garage Entry                      	Std                     	Steel

Master Bed                                    	Std                     	Hollow core

Master Bath                                   	Std                     	Hollow core

Pocket              		Hollow core

Master Closet                                	Barn                   	Wood barn door

Bedroom 2                                      	Std                     	Hollow core

Bedroom 3                                      	Std                     	Hollow core

Bath 2                                               	Std                     	Hollow core

Laundry                                            	Std                     	Hollow core

Mechanical                                     	Std                     	Steel

Garage Entry x2                                	Std                     	Steel

Garage Doors                                	10x10                	Metal

12x14                	Metal

Windows:		Living Room                                    	3                          	Vinyl double hung

Kitchen                                             	2                          	Vinyl sliding

Master Bed                                    	1                          	Vinyl double hung

Bedroom 2                                      	1                          	Vinyl double hung

Bedroom 3                                      	1                          	Vinyl double hung

Plumbing:         	Kitchen                                             	1                          	Sink

1                          	Dishwasher

1                          	Icemaker in fridge

Laundry Room                               				1                          	Hot/Cold for washer

Master Bath                                   				1                          	Lav

1                          	Toilet

1                          	Shower

1                          	Tub

Bath 2                                               				1                          	Lav

1                          	Toilet

1                          	Shower

Exterior                                              				2                          	Hosebibs                                                            			Garage                                             	1                          	Hot/Cold hosebib

Electrical:                   	Hall                                                    	2                          	Ceiling  fixtures

Living Room                                    	1                          	Ceiling fan

2-4                      	Recessed can lights

Kitchen/Dining Room                 	1                          	Light above sink

2-4                      	Recessed can lights

Mud Room/Garage Entry         	1                          	Ceiling fixture

Master Bedroom                         	1                          	Ceiling fan with light

Master Bath                                   	1                          	Wall fixture

2-3                      	Recessed can lights

Master Closet                                	1                          	Ceiling fixture

Bedroom 2                                      	1                          	Ceiling fan with light

Bedroom 3                                      	1                          	Ceiling fan with light

Bath 2                                               	1                          	Wall fixture above

1                          	Recessed can light

Garage                                             	4-6                      	Light outlets

1                          	220 connection

Exterior                                              	6                          	Outdoor lights

HVAC:               	Electric Heat Pump

Ducting system

Programmable Thermostat

A/C Unit

Insulation:       	Walls – minimum R-19 fiberglass*

Roof – minimum R-30 fiberglass or spray foam*

* to meet code requirements

Kitchen:                                           	Cabinets          			Semi-custom

Countertops  			Laminate

Range               			Electric

Microwave     			Over range w/exhaust vent

Dishwasher    			Std

Master Bath:                                  	Sink                    		China lav w/faucet

Cabinet                     		Semi-custom

Countertop    			Laminate

Toilet                 		China

Shower                      		Ceramic tile w/faucet

Tub                    		Free standing w/faucet

Bath 2:                                              	Sink                    		China lav w/faucet

Cabinet                     		Semi-custom

Countertop    			Laminate

Toilet                 		China

Shower                      		Ceramic tile w/faucet

Laundry:                                          	Washer / Electric Dryer

Flooring:                                          	Decorative stained concrete throughout home

Other:                                             	Build-in Desk in hallway with floor and wall cabinets

Garage:                                               	Concrete floor – unstained

Unfinished walls with exception of shared wall to house – to be

insulated with finished drywall

Driveway:                                        	Gravel

Patios/porch:                                 	Concrete 10x46 and 6x46 wrap around porch

Wood wrapped posts