## Slide 1: Ion Mobility-Mass Spectrometry Separation of Steroid Structural Isomers and Epimers
Alana Rister

## Slide 2: Importance of Steroid Analysis
Steroid analysis is used:
  Medical diagnosis
  Environment testing
  Sports performance testing
Challenges in steroid analysis:
  Low concentration
  High potency
  Isomers
Testosterone
Vakkat Muraleedharan et al. Eur J Endocrinol 2013;169:725-733

## Slide 3: Steroids
Involved in cellular signaling
Derivatives of cholesterol
Involved in:
  Glucose regulation
  Stress response
  Sex characteristics
  Mineral balances
Adrenal Response
Regulates Glucose Metabolism
Male Sex Hormone
Female Sex Hormone

## Slide 4: Previous Analysis Methods
Attribute | Liquid Chromatography | Ion Mobility Spectrometry | Mass Spectrometry
Phase | Liquid Phase | Gas Phase | Gas Phase
Separation | Polarity | Size, Shape, and Charge | Mass and Charge
Time Scale | Minutes-Hours | Milliseconds-Seconds | Microseconds-Seconds
Type of Instrument Used in this Research | Reversed Phase Liquid Chromatography | Traveling Wave Ion Mobility Spectrometry | Time-of-Flight (µs) Ion Cyclotron Resonance (s)

## Slide 5: Ion Mobility Spectrometry
Gas Phase Separator
Separates based on size, shape, and charge
Types of ion mobility:
  Drift tube ion mobility
  Traveling wave ion mobility

## Slide 6: Previous Methods for Steroid Separation in IMS
Derivatization
Changing of drift gas
Using metal adducts to generate multimeric species
Ahonen, L.; Fasciotti, M.; af Gennäs, G. B.; Kotiaho, T.; Daroda, R. J.; Eberlin, M.; Kostiainen, R. J. of Chromat. A 2013, 1310, 133.

## Slide 7: IMS Experiments
Native Steroid Solutions
Ion Mobility-Mass Spectrometry
(DTIMS)
Extract Arrival Time Distributions
Collision Cross Section Measurements
Agilent 6560
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 8: Results
Separation of protonated species
Separation of sodiated species
Changing drift gas
Alternative cations
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 9: IMS Analysis of Protonated Steroids
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 10: Protonation Separation of Steroids Isomers
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 11: Results
Separation of protonated species
Separation of sodiated species
Changing drift gas
Alternative cations
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 12: Sodiated Monomer Separation
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 13: Sodiated Dimer Separation
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 14: Sodiated Isomer Resolution
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 15: Results
Separation of protonated species
Separation of sodiated species
Changing drift gas
Alternative cations
15
20
25
30
35
40
45
15
20
25
30
35
40
45
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 16: Drift Gas Affects on Separation
15
20
25
30
35
40
45
15
20
25
30
35
40
45
15
20
25
30
35
40
45
Drift Time (ms)
Drift Time (ms)
Drift Time (ms)
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 17: Drift Gas Affects on Separation
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 18: Drift Gas Affects on Collision Cross Sections
Drift Gas | Helium | Argon | Nitrogen | Carbon Dioxide
Polarizability | 0.205 | 1.6 | 1.7 | 2.9
Molecular Weight | 4.00 Da | 39.95 Da | 28.01 Da | 43.99 Da
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 19: Results
Separation of protonated species
Separation of sodiated species
Changing drift gas
Alternative cations
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 20: Transition Metal Cations
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 21: Optimal Separation Conditions
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 22: Conclusions
Baseline resolution was achieved for most steroid isomer pairs as sodiated dimers
Carbon dioxide achieved better resolution as a drift gas than nitrogen or helium
Transition metal adducts could provide additional separation as tested on one pair of isomers
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.

## Slide 23: Future Directions
Analysis of additional cation species
Orthogonal separation with liquid chromatography
Analysis of biological samples
Chouinard, C.D., Cruzeiro, V.W.D., Roitberg, A.E. et al. J. Am. Soc. Mass Spectrom. (2017) 28: 323.